## Slide 1: Fire Simulation Software
Carlos Gonzalez Garza

## Slide 2: Objectives
European Building Regulations.
Combustion
Computational Fluid Dynamics
  Discretization Method
Software
CFD Case Study
  Ex-USS Shadwel
Fire Evaluation Case Study
  Underground Shoping Centre

## Slide 3: European Regulations

## Slide 4: Protection of the health & safety of ALL building users
According to ISO FDIS 21542: ‘Building Construction – Accesibility & Usability of the Built Environment’.
10% of people have some sort of disability.
Its predicted that at somepoint the building will be at 120% of its capacity.

## Slide 5
Protection of property.
Protection of the health & safety of emergency first response personnel.
Facility, cost of reconstruction, refurbishment and repair after fire.
Protection of the natural environment from smoke, pollution adverse impacts.

## Slide 6: Combustion
Incipient Phase
  20 to 21%
  500 to 550 C
Free Burning Phase
  15 to 19%
  700 C
Smouldering Phase
  Less than 15%
  Above 550 C

## Slide 7: Computational Fluid Dynamics
CFD is the study of a fluid system that is varying statically or dynamically in function of space and time.
Used in:
  Aeronautics
  Automotive Industry
  Mechanical, electrical and environmental engineers
“A computer simulation of high velocity air flow around the Space Shuttle during re-entry.”[1]

## Slide 8: Field Modeling Approach
The physical characteristics of a fluid in motion can be described by the consideration of mathematical equations governing a process of interest.

## Slide 9: Discretization

## Slide 10: Commercial Codes

## Slide 11: Ex-USS Shadwel

## Slide 12
A schematic of the different compartments of the ex-USS Shadwel lrepresented in the numerical simulations.

## Slide 13
A detailed view using velocity vectors to illustrate the flow field in the laundry room and the adjacent passageway.

## Slide 14
The simulated smoke spread within the ex-USS Shadwell shown using velocity (in cm/s) and temperature (in K) distributions.

## Slide 15: Results

## Slide 17: Fire Risk Evaluation Case Study
AREA | 21677 m^2
NET DEPTH | 6.3 m
LENGTH | 150 m
WIDTH | 147.77

## Slide 18: Fire Risk Evaluation Case Study Results
F. Table of parameters related to functional areas. {Ren, 2007}.

## Slide 19: Fire Risk Evaluation Case Study Calculations
RSET
Trset = talarm+tresp+tmove
Where t alarm is the fire detection time.
t resp is the people reaction time.
t move is the movement time of evacuation.
Normally t alarm = 15s and t resp = 30s
t1 = t0 + s/v = t alarm + t resp + s/v
s is the distance that people have to walk to an emergency exit = 150 m
v is the velocity of evacuation
According to the author the result obtained is 309 second that means that ASET > RSET.

## Slide 20: Corrective Measures

## Slide 21: Conclusions
Data obtained can be used to,
Improve the building fabric.
Improve building air tightness.
Design the HVAC systems.
Design of lifts and emergency stairwells.

## Slide 22: Any Questions?
Many Thanks ¡